## Slide 1
Power Cord: IEC320-C13 to NEMA 5-15
103541-xxx Power Cords 13-20 Amp
-001 USA/Japan -011 Aus/N.Zealand
-021 C.Europe -031 UK/Ireland
-511 Switzerland -481 Denmark
-461 Italy -AR1 India/S.Africa
-BT1 Israel
MA8000/EMA12000 CI Product Set
Storage controllers, cache, batteries:
204305-B21 HSJ80 RAID Array Controller w/ 512MB Cache
135823-B21 Single external cache battery
Supported Hard Drives
148649-B22 9.1GB Ultra2 SCSI 7200 RPM 1”
328939-B22 9.1GB Ultra2 SCSI 10K RPM 1”
142671-B22 9.1GB Ultra3 SCSI 10K RPM 1”
338144-B22 18.2GB Ultra2 SCSI 7200 RPM 1”
128418-B22 18.2GB Ultra2 SCSI 10K RPM 1”
142673-B22 18.2GB Ultra3 SCSI 10K RPM 1”
176496-B22 36.4GB Ultra3 SCSI 10K RPM 1”
176494-B21 72.8GB Ultra3 SCSI 10K RPM 1.6”
148649-B21 0.6”Drive Extenders (Pack of 4)
Compaq 9142 Rack, options:
120663-B21 9142 42U Cab (opal) No PDU- Flat Pallet
120663-B22 9142 42U Cab (opal) No PDU- Shock Pallet
120663-B23 9142 42U Cab (opal) No PDU- Crated
120670-B21 Side Panel
120673-B21 Rack Stabilizer
120669-B21 Multi-Bay Kit
120677/678-B21 Fan Kit 110/220V
169940-B21 Blank Panel Kit (Qty 4)
295363-001 PDU DOM Low - Zero U
12 ft L5-30P Pdu supports 6 p/s
295363-002 PDU DOM 16 Amp - Zero U
6-20P Pdu supports 6 p/s
295363-003 PDU DOM 32 Amp - Zero U
12 ft L6-30P Pdu supports 6 p/s
Order 9142 with 1 or 2 PDU
Note: Not all options shown
Compaq
9142
Rack
Retma
OPAL only
42U Rack
No CTO
Power Cord: IEC320-C13 to IEC320-C14
BN35S-02 2.5M IEC cable, black
BN30B-02 2.5M IEC cable, gray
Enclosure options
380565-B21 180 Watt Power Supply for M2200 Enclosure
119826-B21 4214R Redundant power supply
119829-B21 4214R Dual Bus I/O Module
July 17, 2000
Model 2200 (M2)
Controller Enclosure - 4U
Front
Back
135820-B21
Includes: (2) 180W Power Supplies, (3) Fans, (6) Ultra SCSI I/O Modules, EMU,
(2) IEC C13-C14 Power Cords, RETMA mounting kit
Model 42xx /43xx Device Enclosure - 3U
103381-001 - 4214R (Ultra 2)
190209-001 - 4314R (Ultra 3)
- Single Bus, 14 Bay Device Enclosure, RETMA mounting kit, (2) Blower, (1) Power Supply, (1) IEC-C13 to NEMA 5-15P Power Cord, (1) 3.7M VHD - VHD SCSI Cable
138151-001 - 4254R (Ultra 2)
190211-001 - 4354R (Ultra 3)
- Dual Bus, 14 Bay Device Enclosure, RETMA mounting kit, (2) Blowers, (2) Power Supplies, (2) IEC-C13 to NEMA 5-15P Power Cords , (2) IEC-C13 to IEC-C14 Power Cords, (2) 3.7M VHD - VHD SCSI Cables
SCSI Cables - VHDCI to VHDCI (for CTO)
168256-B21 1Meter, 168257-B21 2M, 189505-B21 3M, 400983-005 5M, 400985-010 10M
CI Cables
BNCIA-10 10M, BNCIA-20 20M, BNCIA-45 45M
Star Couplers
SC008-AC 8 ports, dual CI path w/ Cabinet
SC008-AD 8 ports, dual CI path. Upgrades SC008-AC
to 16 CI ports - installs inside SC008-AC
Other 9000 Series Racks Supported
120664-B21 9136 -36U Cab (opal) No PDU- Flat Pallet
120664-B22 9136 -36U Cab (opal) No PDU- Shock Pallet
120664-B23 9136 -36U Cab (opal) No PDU- Crated
120665-B21 9122 -22U Cab (opal) No PDU- Flat Pallet
120665-B22 9122 -22U Cab (opal) No PDU- Shock Pallet
120665-B23 9122 -22U Cab (opal) No PDU- Crated
Modular Storage Cabinet
180311-B21 42U (opal) 60Hz w/ (26) IEC320-C13 to C14 Power Cords
180312-B22 42U (opal) 50Hz w/ (26) IEC320-C13 to C14 Power Cords
180313-B21 36U (opal) 60Hz w/ (22) IEC320-C13 to C14 Power Cords
180314-B22 36U (opal) 50Hz w/ (22) IEC320-C13 to C14 Power Cords
180315-B21 22U (opal) 60Hz w/ (12) IEC320-C13 to C14 Power Cords
180316-B22 22U (opal) 50Hz w/ (12) IEC320-C13 to C14 Power Cords
180317-B21 41U (blue) 60Hz w/ (26) IEC320-C13 to C14 Power Cords
180318-B22 41U (blue) 50Hz w/ (26) IEC320-C13 to C14 Power Cords
All Modular Storage Cabs include:
Front & back doors, Side panels, (2) 2U 24Amp PDUs each with
(1) 15’ L6-30P input Power Cord, (16) IEC320-C13 receptacles
Modular Storage
Cabinet
(22U, 36U,
42U are
Pre-Configured
9000 Series
Racks)
(41U is
Pre-configured
ESA12000 Cab)
CTO avail.
175993-B21/60Hz
(1) 41U Modular
Storage Cab.
(1) M2200 Enclosure
(3) 4254 Enclosures
(6) SCSI VHD-VHD
Cables
NO Controllers,
Cache or Disks
EMA12000 Blue
EMA12000 D14
175990-B21/60Hz
(1) 42U Modular
Storage Cab.
(3) M2200 Enclosures
(9) 4254 Enclosures
(18) SCSI VHD-VHD
Cables
NO Controllers,
Cache or Disks
Platform kit 1 required per cluster, adapters 1 per host connection.
HSJ80 Solution Kit: OpenVMS, V8.5A, 203694-001;
OSs Supported Adapters HA software:
VAX OpenVMS 6.2 CIXCD VMSCluster
VAX OpenVMS 7.1 “ “
VAX OpenVMS 7.2 “ “
Alpha OpenVMS 6.2-1H3 CIPCA VMSCluster
Alpha OpenVMS 7.1H1 “ “
Alpha OpenVMS 7.2 “ “
Alpha OpenVMS 7.2-1 “ “
HSJ80 Storage Controller Software (1 per controller)
203693-B21 ACS V8.5J-2
EMA12000 S14
175991-B21/60Hz
(1) 36U Modular
Storage Cab.
(1) M2200 Enclosure
(6) 4214 Enclosures
(6) SCSI VHD-VHD
Cables
Controllers, Batteries
and Disks ordered
separately
EMA12000 S10
175994-B21/60Hz
(1) 42U Modular
Storage Cab.
(1) M2200 Enclosure
(6) 4310 Enclosures
(6) SCSI VHD-VHD
Cables
Controllers, Batteries
and Disks ordered
separately
175992-B21/60Hz
(1) 22U Modular
Storage Cab.
(1) M2200 Enclosure
(3) 4254 Enclosures
(6) SCSI VHD-VHD
Cables
Controllers, Batteries
and Disks ordered
separately
MA8000
CTO orders require Part Number118102-888 on the first line
SCSI Extenders / Translators for External (to cabinet) Device Support
DS-DWZZC-AA SE Ultra SCSI to SE Ultra SCSI, Tabletop
DS-DWZZC-DA SE Ultra SCSI to Diff Ultra SCSI, Tabletop
174631-001 - 4310R (Ultra 3)
- Single Bus, 10 Bay Device Enclosure, RETMA mounting kit, (2) Blower, (2) Power Supply, (1) IEC-C13 to NEMA 5-15P Power Cord, (1) 3.7M VHD - VHD SCSI Cable
174630-001 - 4350R (Ultra 3)
- Dual Bus, 10 Bay Device Enclosure, RETMA mounting kit, (2) Blowers, (2) Power Supplies, (2) IEC-C13 to NEMA 5-15P Power Cords , (2) IEC-C13 to IEC-C14 Power Cords, (2) 3.7M VHD - VHD SCSI Cables
(3) 14 Bay
Enclosures
Cont.
Cont.
(6) 14 Bay
Enclosures
(3) 14 Bay
Enclosures
Cont.
Cont.
(6) 10 Bay
Enclosures
(3) 14 Bay
Enclosures
Cont.
(3) 14 Bay
Enclosures
Cont.
(3) 14 Bay
Enclosures
Cont.